## Summary
10.17 Appendix 1
Date: |  |  | Sensor Type: |  | D-Opto
Site: |  |  | Serial Number:
At: |  |  | Water Temperature
Wind Conditions |  |  | Flow Contitions |  | Low / Mid / High
Air Temperature : |  |  | Turbidy
Comments :
Cleaned Before Cal |  | YES | NO
Steps | Time | DO Sensor % | DO Sensor PPM | YSI % | YSI ppm | Comment - Fouling. PH, COND, TEMP
River DO before
Zero Measurement
Zeroed Point
River DO After Zero
River DO Calibration
Zero Point Check
River Check
Calibration Method |  | Gas | Kit
Calibration Status |  | PASS | FAIL
Observer :
Comment
DO Field Calibration Sheet